## Sheet1
Function | Already set | Custom set | Do we have this function?
Auto Setup | F2 |  | Y
Buffer next | Shift+Right
Buffer previous | Shift_Left
Ch A analog offset decrement
Ch A analog offset increment
Ch A analog offset reset
Ch A coupling next | A
Ch A coupling previous
Ch A enabled clear |  | Alt+Shift+Q | Y | turn off channel A
Ch A enabled enabled |  | Alt+Shift+A |  | toggle channel A
Ch A Enabled set |  | Alt+Shift+1 | Y | turn on channel A
Ch A low pass enable clear
Ch A low pass enable set
Ch A low pass enable toggle | Alt+A
Ch A low pass cut off decrement | Alt+Q
Ch A low pass cut off increment | Alt+1
Ch A offset decrement | Shift+Q |  | Y | vertical position -
Ch A offset increment | Shift+1 |  | Y | vertical position +
Ch A offset reset | Shift+A |  | Y | vertical position reset
Ch A range next | Q |  | Y | vertical scale +
Ch A range previous | 1 |  | Y | vertical scale -
Ch A zoom decrement | Ctrl+Q |  | Y | zoom -
Ch A zoom increment | Ctrl+1 |  | Y | zoom +
Ch A zoom reset | Ctrl+A |  | Y | zoom reset
Ch B analog offset decrement
Ch B analog offset increment
Ch B analog offset reset
Ch B coupling next | S
Ch B coupling previous
Ch B enabled clear
Ch B enabled enabled
Ch B Enabled set
Ch B low pass enable clear
Ch B low pass enable set
Ch B low pass enable toggle | alt+S
Ch B low pass cut off decrement | alt+W
Ch B low pass cut off increment | alt+2
Ch B offset decrement | shift+W
Ch B offset increment | shift+2
Ch B offset reset | shift+S
Ch B range next | W
Ch B range previous | 2
Ch B zoom decrement | ctrl+W
Ch B zoom increment | ctrl+2
Ch B zoom reset | ctrl+S
Ch C analog offset decrement
Ch C analog offset increment
Ch C analog offset reset
Ch C coupling next | D
Ch C coupling previous
Ch C enabled clear
Ch C enabled enabled
Ch C Enabled set
Ch C low pass enable clear
Ch C low pass enable set
Ch C low pass enable toggle | alt+D
Ch C low pass cut off decrement | alt+E
Ch C low pass cut off increment | alt+3
Ch C offset decrement | shift+E
Ch C offset increment | shift+3
Ch C offset reset | shift+D
Ch C range next | E
Ch C range previous | 3
Ch C zoom decrement | ctrl+E
Ch C zoom increment | ctrl+3
Ch C zoom reset | ctrl+D
Ch D analog offset decrement
Ch D analog offset increment
Ch D analog offset reset
Ch D coupling next | F
Ch D coupling previous
Ch D enabled clear
Ch D enabled enabled
Ch D Enabled set
Ch D low pass enable clear
Ch D low pass enable set
Ch D low pass enable toggle | alt+F
Ch D low pass cut off decrement | alt+R
Ch D low pass cut off increment | alt+4
Ch D offset decrement | shift+R
Ch D offset increment | shift+4
Ch D offset reset | shift+F
Ch D range next | R
Ch D range previous | 4
Ch D zoom decrement | ctrl+R
Ch D zoom increment | ctrl+4
Ch D zoom reset | ctrl+F
Ch E analog offset decrement
Ch E analog offset increment
Ch E analog offset reset
Ch E coupling next | G
Ch E coupling previous
Ch E enabled clear
Ch E enabled enabled
Ch E Enabled set
Ch E low pass enable clear
Ch E low pass enable set
Ch E low pass enable toggle | alt+G
Ch E low pass cut off decrement | alt+T
Ch E low pass cut off increment | alt+5
Ch E offset decrement | shift+T
Ch E offset increment | shift+5
Ch E offset reset | shift+G
Ch E range next | T
Ch E range previous | 5
Ch E zoom decrement | ctrl+T
Ch E zoom increment | ctrl+5
Ch E zoom reset | ctrl+G
Ch F analog offset decrement
Ch F analog offset increment
Ch F analog offset reset
Ch F coupling next | H
Ch F coupling previous
Ch F enabled clear
Ch F enabled enabled
Ch F Enabled set
Ch F low pass enable clear
Ch F low pass enable set
Ch F low pass enable toggle | alt+H
Ch F low pass cut off decrement | alt+Y
Ch F low pass cut off increment | alt+6
Ch F offset decrement | shift+Y
Ch F offset increment | shift+6
Ch F offset reset | shift+H
Ch F range next | Y
Ch F range previous | 6
Ch F zoom decrement | ctrl+Y
Ch F zoom increment | ctrl+6
Ch F zoom reset | ctrl+H
Ch G analog offset decrement
Ch G analog offset increment
Ch G analog offset reset
Ch G coupling next | J
Ch G coupling previous
Ch G enabled clear
Ch G enabled enabled
Ch G Enabled set
Ch G low pass enable clear
Ch G low pass enable set
Ch G low pass enable toggle | alt+J
Ch G low pass cut off decrement | alt+U
Ch G low pass cut off increment | alt+7
Ch G offset decrement | shift+U
Ch G offset increment | shift+7
Ch G offset reset | shift+J
Ch G range next | U
Ch G range previous | 7
Ch G zoom decrement | ctrl+U
Ch G zoom increment | ctrl+7
Ch G zoom reset | ctrl+J
Ch H analog offset decrement
Ch H analog offset increment
Ch H analog offset reset
Ch H coupling next | K
Ch H coupling previous
Ch H enabled clear
Ch H enabled enabled
Ch H Enabled set
Ch H low pass enable clear
Ch H low pass enable set
Ch H low pass enable toggle | alt+K
Ch H low pass cut off decrement | alt+I
Ch H low pass cut off increment | alt+8
Ch H offset decrement | shift+I
Ch H offset increment | shift+8
Ch H offset reset | shift+K
Ch H range next | I
Ch H range previous | 8
Ch H zoom decrement | ctrl+I
Ch H zoom increment | ctrl+8
Ch H zoom reset | ctrl+K
Collection time next | Down
Collection time previous | Up
Copy image | Ctrl+C |  | Y | print button
File save
File save as |  | Ctrl+Shift+C
Instruments persistence
Instruments scope
Instruments spectrum
Load file next | Page down
Load file previous | Page up
number of samples decrement | Left
number of samples increment | Right
print print
print print preview
resolution next
resolution previous
run | Space |  | Y | run/stop
Signal generator amplitude decrement
Signal generator amplitude increment
Signal generator enabled clear
Signal generator enabled set
Signal generator enabled toggle | F6
Signal generator frequency decrement
Signal generator frequency increment
Signal generator offset decrement
Signal generator offset increment
Signal generator sweep enabled clear
Signal generator sweep enabled set
Signal generator sweep enabled toggle
Signal generator sweep decrement frequency
Signal generator sweep increment frequency
Signal generator sweep decrement interval
Signal generator sweep increment interval
Signal generator sweep stop frequency decrement
Signal generator sweep stop frequency increment
Signal generator sweep type next
Signal generator sweep type previous
Signal generator trigger on clear
Signal generator trigger on set
Signal generator trigger on toggle
Signal generator trigger shots decrement
Signal generator trigger shots increment
Signal generator software trigger
Signal generator trigger source next
Signal generator trigger source previous
Signal generator trigger threshold decrement
Signal generator trigger threshold increment
Signal generator trigger type next
Signal generator trigger type previous
Signal generator Wavetype next
Signal generator Wavetype previous
Spectrum display mode next
Spectrum display mode previous
Spectrum scale next | P
Spectrum scale previous | O
Spectrum scale type linear
Spectrum scale type logarithmic
Spectrum scale type toggle
Spectrum bins next
Spectrum bins previous
Spectrum window function next
Spectrum window function previous
Spectrum X scale next
Spectrum X scale previous
Tools home | F3
tools pan | Ctrl+N
Tools select | Esc
Tools zoom full size | F4
Tools Zoom horizontal decrement
Tools Zoom horizontal increment
Tools Zoom undo
Tools Zoom vertical decrement
Tools Zoom vertical increment
Tools zoom in | Ctrl+P
Tools zoom out | Ctrl+O
Trigger Direction next
Trigger Direction previous
Trigger Edge toggle | C
Trigger mode next | Z
Trigger mode previous
Pre trigger decrement | N
Pre trigger increment | M
Trigger source next | X
Trigger source previous
Trigger threshold decrement | B
Trigger threshold increment | V
Trigger time delay enable
View arrange axes | F5